# Public Access Defibrillator Policy Consultative Draft

June 2026
## Purpose of the policy
1.1.	South Lanarkshire Council is committed to making council owned buildings available for the external installation of Public Access Defibrillators, which are lifesaving devices strategically placed in public areas to increase the chances of immediate assistance during cardiac arrest emergencies.
1.2.	Public Access Defibrillators (PADs) deliver an electric shock to the heart of someone in cardiac arrest, allowing the normal, organised, electrical rhythm of the heart to restart. They are designed for use by members of the public without training. They come with written instructions and can give audible guidance to users.
1.3	We want to ensure that the council works closely with established community groups to ensure that lives can be saved across our local communities.
1.4.	The policy is intended to support the delivery of the Scottish Government’s Out of Hospital Cardiac Arrest: Strategy 2021-26.

## Scope of the policy
2.1.	South Lanarkshire Council will consider the external installation of a Public Access Defibrillator on any suitable council owned buildings (other than Listed Buildings).
2.2.	To ensure the capacity to maintain a PAD, the council will only consider installation requests from established and constituted community groups. This is to ensure that there is adequate resource to maintain the defibrillator, carry out regular condition and function checks and replace batteries and parts as required.
## Responsibilities of Community Group
3Defibrillator.1.	An agreement (Hosting Agreement) will be reached between South Lanarkshire Council and the community group setting out the key responsibilities of all partners.
3.2.	Community groups are responsible for:
- Purchasing and ongoing ownership of the PAD
- Planning application costs (if required)
- The cost of installation and ongoing electrical supply
- Identifying a suitable location for the PAD, making use of the PADmap website (www.padmap.org)
- Registering the location of the PAD with the National Defibrillator Network (the Circuit) provided by the British Heart Foundation
- Clearly labelling the PAD with contact details and provide signage to show they are the owners
- Carrying out regular checks on the PAD to ensure it is in working order, all maintenance, and associated costs for repairs and replacement.
## Responsibilities of South Lanarkshire Council (HOST)
4.1.	South Lanarkshire Council is responsible for:
- Installing the PAD at the agreed location, (recharging the community group for costs)
- Providing a rent-free non-exclusive location for the defibrillator cabinet and contents for the duration of the agreement.
- Providing an unmetered and unrestricted electricity supply to the defibrillator
- Permitting access to the emergency services and their representatives to the device on request and not restricting/encumbering non-exclusive access to the public, except in the case of emergency.
- Removing any PADs installed on a council building without permission

## Supporting policies and documents
- Scottish Government Strategy “Out of Hospital Cardiac Arrest”: A Strategy for Scotland
- Out of Hospital Cardiac Arrest: Guide to Public Access Defibrillators
## Monitoring and review
6.1. The policy will be reviewed in line with the Housing and Technical Resources Policy Review Schedule or following changes to any relevant legislation, national or local policies.
## Equality and diversity
7.1. If you need this information in another language or format, please contact us to discuss how we can best meet your needs. Phone 0303 123 1015 or email equalities@southlanarkshire.gov.uk